## Slide 1: MBIRJAX Projectors
Charles Bouman and Greg Buzzard

## Slide 2
Completed Tasks
New TO DO
*Completed tasks in Green

## Slide 3: Parallel Beam Geometry – top view
Voxel:
  : index
  : physical size
Detector:
  : index
  : physical size
Forward map entry:
Top view parameters:
  : angle between parallel source line and voxel edge in top view
  : smallest angle between source-voxel line and voxel edge. NOTE:
  : length of path through center of voxel
  : length of projection of flattened voxel on detector, (in fraction of detector size; is between 0 and 1 when )
  : index difference (float) between detector element center and projection of voxel center
  : fractional overlap of projected flattened voxel on detector
  (in mm or ALUs)
  Note: when and , then the total projection is , and the fractional projected length is between 0 and 1, so the total projection of 1 is split between two detectors depending on the overlap.
Separable Models for cone-beam MBIR Reconstruction, Balke, et al, 2018.
iso
rotation axis
source
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel
top view
source
length of yellow
distance ctr yellow to ctr green
center of channel
projection of voxel center

## Slide 4: Cone Beam Geometry Parameters
The base geometry parameters
    sinogram_shape
    delta_det_channel
    delta_det_row
    det_channel_offset
    recon_shape
    magnification
    delta_pixel_recon
The cone-beam specific parameters
    source_detector_dist
    det_row_offset=0.0
    image_slice_offset=0.0
    det_rotation=0.0 Detector rotation in rad (clockwise viewed from the source)
    angle Object rotation in rad (clockwise viewed from the top)

## Slide 5: Cone Beam Geometry
Assumptions:
    iso is defined as point on rotation axis that is perpendicular to source detector line.
    Detector is assumed to be perpendicular to source to detector line and axis aligned with rotation axis
    Shape of sinogram is:
    num_views, num_detector_rows, num_detector_channels = sinogram.shape
    Magnification is a user specified parameter defined by:
    magnification = (source to detector distance) / (source to iso distance)
Spaces:
    – index space (integers) for voxels in reconstruction.
    – physical space centered around iso and invariant to view parameters.
    – physical space with origin at detector iso and aligned with .
    – index space (floats) for pixel centers in detector.
Comments:
Object is assumed to rotate clockwise viewed from the top.
Detector is assumed axis-aligned with rotation axis.
Index spaces are aligned with centers of voxels or detectors.
iso
rotation axis
source
source to detector distance
source to iso distance
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel
Assume detector is aligned with rotation axis.

## Slide 6: Cone Beam Geometry – view from source
Assumptions:
    determines the world view, points from iso to source
    iso is defined as point on rotation axis that is perpendicular to source detector line.
    Detector is assumed to be perpendicular to source to detector line
Spaces:
    – index space (floats) for voxel centers in reconstruction.
    – physical space centered around iso and invariant to view parameters.
    – physical space with origin at detector iso and aligned with .
    – physical space with origin at detector center and aligned with detector axes.
    – index space (floats) for pixel centers in detector.
Physical coordinates at iso as seen from source:
points towards source,
is the rotation axis
Map from to :
:
(user input in coordinates)
:
positive rotation since points down
detector iso = projection of iso
detector center
channels indexed by ,
at center at first pixel
rows indexed by ,
at center of first pixel
Assume : no detector rotation

## Slide 7: Cone Beam Geometry: to
Transformation algorithm:
    def recon_ijk_to_xyz(i, j, k):
    # angle = rotation angle
    # Note the change in order from (i, j) to (y, x)!!
    ytilde = delta_pixel_recon*(i – (num_recon_rows-1)/2)
    xtilde = delta_pixel_recon*(j – (num_recon_cols-1)/2)
    x = cos(angle)*xtilde – sin(angle)*ytilde
    y = sin(angle)*xtilde + cos(angle)*ytilde
    z = delta_voxel*(k – (num_recon_slices-1)/2) + recon_slice_offset
    return x, y, z
Comments:
recon_slice_offset allows the reconstructed volume to be off-center in z direction.
So, if recon_slice_offset is positive, we reconstruct the region below iso.
iso
rotation axis
source
source to detector distance
source to iso distance
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel

## Slide 8: Cone Beam Geometry: (x,y,z) to (u,v)
Transformation algorithm:
    def geometry_xyz_to_uv(x, y, z):
  source_to_iso_dist = source_detector_dist/magnification
  pixel_mag = source_detector_dist/(source_to_iso_dist - y)
  [u, v] = [pixel_mag*x, pixel_mag*z]
    return u, v, pixel_mag
Comments:
magnification = source_detector_dist/source_iso_dist
iso
rotation axis
source
source to detector distance
source to iso distance
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel

## Slide 9: Cone Beam Geometry: (u,v) to (m,n)
Transformation algorithm:
    def detector_uv_to_mn(u, v):
    utilde = u cos(psi)*u + sin(psi)*v # psi = detector rotation angle assumed = 0
    vtilde = v -sin(psi)*u + cos(psi)*v
    [det_center_row, det_center_channel] = (sinogram_shape[1:]-1)/2.0
    n = (utilde + det_channel_offset)/delta_det_channel + det_center_channel
    m = (vtilde + det_row_offset)/delta_det_row + det_center_row
    Return m, n
Comments:
Object is assumed to rotate clockwise viewed from the top.
Detector is assumed to rotate clockwise viewed from the source.
iso
rotation axis
source
source to detector distance
source to iso distance
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel

## Slide 10: Cone Beam Geometry: matrix – top view
Voxel:
  : index
  : physical size
Forward map entry:
Algorithm to compute :
  For a specific voxel
  : get the physical coordinates relative to iso
  : get the physical coordinates relative to detector iso
  : get the index coordinates on the detector for the specific pixel
  : angle between source-iso line and source-voxel line in top view
  : length of projection of flattened voxel on detector (in fraction of detector size).
  For a specific detector
  : get the fractional offset from the detector pixel. For : . If , then should depend linearly on .
  : fractional overlap of projected flattened voxel on detector
  : top-view projection coefficient = (pathlength through voxel in ) *
Detector:
  : index
  : physical size
Separable Models for cone-beam MBIR Reconstruction, Balke, et al, 2018.
top view
source
Detector in channel
depend only on when . comes from fore-lengthening on the detector as increases.
Assume : no detector rotation
If , then

## Slide 11: Cone Beam Geometry: matrix – Side view
Voxel:
  : index
  : physical size
Forward map entry:
Algorithm to compute :
  For a specific voxel
  : get the physical coordinates relative to iso
  : get the physical coordinates relative to detector iso
  : get the index coordinates on the detector for the specific pixel
  : angle between source-iso line and source-voxel line in the side view
  ( if max cone angle < 45 degrees.)
  : length of projection of flattened voxel on detector (in fraction of detector size)
  For a specific detector
  : get the fractional offset from the detector pixel. For :
  : fractional overlap of projected flattened voxel on detector
  : side-view projection coefficient. approximates the per-ray (not per-voxel) distance traveled through the voxel.
Detector:
  : index
  : physical size
Separable Models for cone-beam MBIR Reconstruction, Balke, et al, 2018.
depend only on and
side view
z
source
Detector in row
Assume detector angle
And max vertical cone angle < 45 degrees.
If , then

## Slide 12: Cone Beam Geometry: matrix
Algorithm to compute:
  For a specific voxel
  : get the physical coordinates relative to iso
  : get the physical coordinates relative to detector iso
  : get the index coordinates on the detector for the specific pixel
  : angle between source-iso line and source-voxel line in top view
  : length of projection of flattened voxel on detector (in fraction of detector size).
  : angle between source-iso line and source-voxel line in top view
  : length of projection of flattened voxel on detector (in fraction of detector size)
  For a specific detector
  : get the fractional offset from the detector pixel
  : fractional overlap of projected flattened voxel on detector
  : fractional overlap of projected flattened voxel on detector
  : top-view projection coefficient
  : side-view projection coefficient
  : final projection coefficient
top view
source
Detector in channel
side view
z
source
Detector in row
For :

## Slide 13: Factoring the matrix
Our goal is to factor the matrix into a composition of simpler linear operators:
First operator: An in-place, vertical fan beam projection of each voxel cylinder to a new voxel cylinder.
This maps the input voxels of shape (#pixels, #recon_slices) to modified voxels of shape (#pixels, #detector_rows).
The new voxel cylinders are put back in the same position as the original voxel cylinder, but the original locations in space are replaced by locations on the detector.
This requires new memory of shape (#pixels, #detector_rows), where #pixels can be bounded by pixel_batch_size.
Each pixel (voxel cylinder) can be processed independently of the others (embarrassingly parallel).
Second operator: A horizontal fan beam projection of each slice (detector row) of modified voxels.
This maps the modified voxels of shape (#pixels, #detector_rows) to a sinogram view of shape (#detector_rows, #detector_channels).
This outputs a sinogram view of shape (#detector_rows, #detector_channels).
Each row can be processed independently of the others (embarrassingly parallel).
Vertical fan beam projection of a voxel cylinder
Original voxel cylinder: not aligned with detector rows
First operator
Detector in row
New voxel cylinder after fan beam: same location as original and also aligned with detector rows
side view
source
Detector in row

## Slide 14: Factoring the matrix
Our goal is to factor the matrix into a composition of simpler linear operators:
First operator: An in-place, vertical fan beam projection of each voxel cylinder to a new voxel cylinder.
Second operator: A horizontal fan beam projection of each slice (detector row) of modified voxels.
Why this is a factorization of :
For a detector element let denote the contribution from the voxel cylinder indexed by . Then
The expression in parentheses is a sparse dot product – the sum is really over a subset so that the projection of the voxel with -coordinate has projection that intersects detector row This sum is exactly the fan beam projection of this voxel cylinder to a wide column of detector rows.
Then
The final sum is again a sparse dot product. In this case it’s the horizontal fan beam projection of the modified voxels in row onto the detector element
In-place, vertical fan beam projection of a voxel cylinder
Detector in row
Original voxel cylinder: not aligned with detector rows
New voxel cylinder after fan beam: same location as original and also aligned with detector rows
First operator
side view
source
Detector in row

## Slide 15: Reconstructing half sinogram
With limited memory, we sometimes want to reconstruct the top and bottom halves of a sinogram separately and then put them together. This can be done with recon_slice_offset and det_row_offset.
Suppose we have sinogram data with rows indexed by and that a default reconstruction yields a volume with slices indexed by .
To use the top half of to reconstruct the top half of let , and
The maps between detector position in ALU and detector element index are
  m = (v + det_row_offset)/delta_det_row + det_center_row, where det_center_row =
  v = delta_det_row * (m - det_center_row) - det_row_offset
If we use for a reconstruction with det_row_offset=0, then will be at , which is det_center_row for . But we need to use the data at in order to match the data from on the iso line. So we need
  0 = delta_det_row * ( - ) - det_row_offset
Hence we need: det_row_offset = delta_det_row *
This still leaves the half-volume centered on the iso line, so we need to move the volume up. The map from slice index k to ALU position is
  z = delta_voxel*(k – (num_recon_slices-1)/2) + recon_slice_offset
The coordinate for slice 0 of is delta_voxel* and for is delta_voxel*
So we need delta_voxel* = delta_voxel* + recon_slice_offset or
recon_slice_offset = - delta_voxel *
Sinogram data is
indexed by and position given by v
Reconstructed volume has data
indexed by and position given by
z
source
Top half of sinogram is centered at iso by default.
Move the detector down to match data as above.
z
source
Even after moving the detector, the volume is assumed to be centered on the iso line. Move the volume up to reconstruct the top half only.
The approach for the bottom half is the same, using and changing the sign of each of the two offsets. The 2 half recons are combined along overlapping slices using linear interpolation: overlap_weights = (np.arange(num_overlap_slices) + 1.0) / (num_overlap_slices + 1.0)

## Slide 16: PSF Radius: Parallel Beam
Notation:
    - pixel pitch
    - Magnification
    - detector channel pitch
    - detector row pitch
    – psf radius
Formula for :

## Slide 17: PSF Radius: Cone Beam
Notation:
    - pixel pitch
    - Magnification
    - detector channel pitch
    - detector row pitch
    - maximum pixel magnification
    - source to detector distance
    - number of recon rows
    - number of recon columns
Formula for :
where
source

## Slide 18: QGGMRF cost and surrogate
The cost is , where the sum is over all ordered pairs that are axis neighbors (see next slide for ).
The symmetric surrogate is , where
In update calculations, we evaluate with set to the current recon: .
For fixed , the partial derivative is
and the diagonal element of the Hessian is
Reference: Chapter 8 of FCI
The usual sum over unordered pairs of implicitly assumes that is the same for both neighbors (and neighbors, neighbors).
The factor of 2 comes from the fact that we’re fixing in the first position, but in the ordered pairs it could appear in either position.

## Slide 19: Formula for using scaled
Note: for any ,
So . Use this for to get
Note: in code, we use in place of to avoid errors when (since since ) .
Computation flow:

## Slide 20: Formula for using scaled
Likewise,
Use this for to get
Computation flow:

## Slide 21: qGGMRF gradient, Hessian, and cost
First:
Then, for fixed , the partial derivative is
, where
and the diagonal element of the Hessian is
()
The cost for is . This requires .
In practice, we take , so , so the term is included in the 1st bullet.
So, we compute the gradient and Hessian using the first 2 bullets with If needed, we compute the cost using the 3rd bullet.

## Slide 22: Calculating qGGMRF cost using vmap
The cost is , where the sum is over all ordered pairs that are axis neighbors.
Let be the subset of that are neighbors in the plane (or in the same slice). Let be the remaining elements of , which are the neighbors within the same voxel cylinder.
Then
The first term can be done using vmap over slices.
The second term can be done using vmap over voxel cylinders.

## Slide 23: Update step formulation
Given the current recon, , and sinogram, , the total loss is
We use a surrogate for the prior: , where the coefficients are obtained u. The full surrogate is
We use a 2-step process to determine an update step:
  Use parallel ICD (aka quasi-Newton using the diagonal entries of the Hessian) to determine an update direction, (restricted to change only a specified subset of all voxels).
  Use line search over to minimize .

## Slide 24: Update direction: Parallel ICD (quasi-Newton)
We fix an index set to denote a subset of voxels. We let denote projecting onto the selected voxels, and denote the vector obtained by evaluating at each .
The gradient with respect to using the surrogate is then
The Hessian diagonal with respect to using the surrogate is then
Since the surrogate is quadratic, the gradient and Hessian determine the response of each variable. Treating each element separately (parallel ICD), we seek to minimize , where are the gradient and Hessian for respectively.
This gives the -component of the update direction as

## Slide 25: Line search
Given , we seek to minimize . We assume that the support of is contained in . The objective function is
Taking and setting to 0 gives
Since is linear in , this gives

## Slide 26: Line search
Given , we seek to minimize . From the previous slide, this means
We’ve already computed all of this except
Note that , so we either need to save to use here, or pass in to recompute .
In a naïve implementation for investigation, we just compute this from scratch.
An easy and very effective approximation is:
This 2 is the prior_overrelaxation_factor in the vcd subset updates.

## Slide 27: Alternative derivation: Alpha derivative equations
Assume the prior surrogate loss is given by
where
Define where
Then we know that
(page 84 Property 6.1)
There we have that
Which means that
From
Expanding the square.
Since
Assuming is typically positive, the first term gives an upper bound. If we assume are uncorrelated (not true!), we could replace the second term with . In limited experiments, this is an upper bound that isn’t horrible but slows convergence.
The code currently uses , clipped to [0, 1.5].

## Slide 28: General linear inverse with quadratic surrogate
Given the current recon, , and sinogram, , the total loss is
We use a surrogate for the prior: , where the coefficients are obtained u in .
The full surrogate is
Note that
Defining to be diagonal with in the entry for , we have
where is the weighted average whose entry is .
The extra factor of 2 comes from the fact that the sum is really ,

## Slide 29: Surrogate properties
Expanding the quadratic surrogate, , gives
where is the diagonal matrix with entries and . (This is also Property 6.1 in FCI.) Note that if and that is symmetric.
Note that , so .
With this and the previous slide, we have 2 equivalent expressions for :

## Slide 30: VCD definitions and surrogate properties
We define a subset of pixels, , and let denote projection from the full vector to where is the number of elements in Let denote the complement of , with corresponding projection . Note that inserts into the full image. Also,
and if is diagonal, then
Recall that . Taking gives
In terms of ,
If no two points of are neighbors, then , and is independent of , so for , this gives
Since is quadratic, it’s determined up to a constant by its gradient. Since
we have in the case that no two points of are neighbors (then we say that is sparse) that

## Slide 31: VCD definitions and surrogate properties
Restricting to optimization over and taking , we have the subset loss
Side note: In the sparse case, this is really a proximal map using the norm :
For more general , we have
In either case, we have
but when has points that are neighbors, then depends on and .

## Slide 32: VCD subset minimization
Restricting to optimization over and taking , we have
The Hessian of is
and when is sparse, this simplifies to
Hence
Or when is sparse,

## Slide 33: VCD subset minimization
Since
we can find the exact minimizer over (assuming is invertible) by solving to get
When is sparse, then
and

## Slide 34: VCD gradient descent – sparse case
We take a diagonally preconditioned gradient descent step of size by
When is sparse, then
We choose to minimize , hence that This gives
Hence

## Slide 35: VCD gradient descent – sparse case
If , then
Assuming is sparse and that then and , so
which is exactly the solution for minimization over the subset .
The deviation of the gradient descent step from the exact minimization is determined by and , all of which should be near 0 for a good approximation.

## Slide 36: Grid subsampling
Suppose satisfies a distance-dependent decay of the form
where are multi-indices into 2D or 3D space, and the norm is the usual 2-norm.
Then suppose is obtained by uniform subsampling on a grid with stride in each axis. Then
Suppose

## Slide 37: Experiment: Investigate performance wrt
Goal (what): Investigate convergence with and without correct choice of (step size for recon update)
Motivation (why): Need to determine cost/benefit ratio for proper
Plan for experiment (how):
  Run the Shepp-Logan demo for 15 iterations with estimated from forward linear and quadratic terms only and then with correct choice of
  sharpness = 0, -1
  sinogram_shape = (64, 40, 128), recon_shape = (128, 128, 40)
Experiment Results (what you’ll show/what happened):
  Values of total loss function
  Recon images
Conclusion (what you learned):
  Correct improves convergence.
    With correct , the losses after iteration 12 are very close to the losses after iteration 15 using original form of .
  Naïve implementation is very slow.
    Using correct increased runtime from 40 sec to 60 sec.

## Slide 38: Results with forward-only update to , sharpness = 0
Full intensity window for this recon.
Intensity window 0.15 to 0.25.

## Slide 39: Results with full update to , sharpness = 0
Full intensity window for this recon.
Intensity window 0.15 to 0.25.

## Slide 40: Convergence behavior, sharpness = 0
Starting VCD iterations VCD iteration=0; Forward loss=7.146, Prior loss=0.014, Weighted total loss=4.783 Error sino RMSE=4.257 VCD iteration=1; Forward loss=4.511, Prior loss=0.034, Weighted total loss=3.053 Error sino RMSE=2.688 VCD iteration=2; Forward loss=2.068, Prior loss=0.405, Weighted total loss=1.918 Error sino RMSE=1.232 VCD iteration=3; Forward loss=1.960, Prior loss=0.402, Weighted total loss=1.843 Error sino RMSE=1.168 VCD iteration=4; Forward loss=1.394, Prior loss=0.375, Weighted total loss=1.429 Error sino RMSE=0.831 VCD iteration=5; Forward loss=0.752, Prior loss=0.331, Weighted total loss=0.943 Error sino RMSE=0.448 VCD iteration=6; Forward loss=0.653, Prior loss=0.320, Weighted total loss=0.862 Error sino RMSE=0.389 VCD iteration=7; Forward loss=0.517, Prior loss=0.290, Weighted total loss=0.731 Error sino RMSE=0.308 VCD iteration=8; Forward loss=0.453, Prior loss=0.275, Weighted total loss=0.669 Error sino RMSE=0.270 VCD iteration=9; Forward loss=0.421, Prior loss=0.270, Weighted total loss=0.640 Error sino RMSE=0.251 VCD iteration=10; Forward loss=0.402, Prior loss=0.268, Weighted total loss=0.625 Error sino RMSE=0.239 VCD iteration=11; Forward loss=0.388, Prior loss=0.268, Weighted total loss=0.616 Error sino RMSE=0.231 VCD iteration=12; Forward loss=0.380, Prior loss=0.268, Weighted total loss=0.611 Error sino RMSE=0.226 VCD iteration=13; Forward loss=0.374, Prior loss=0.269, Weighted total loss=0.608 Error sino RMSE=0.223 VCD iteration=14; Forward loss=0.370, Prior loss=0.269, Weighted total loss=0.606 Error sino RMSE=0.220 Elapsed time for recon is 40.791 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.146, Prior loss=0.014, Weighted total loss=4.783 Error sino RMSE=4.257 VCD iteration=1; Forward loss=4.506, Prior loss=0.034, Weighted total loss=3.050 Error sino RMSE=2.685 VCD iteration=2; Forward loss=1.929, Prior loss=0.301, Weighted total loss=1.688 Error sino RMSE=1.149 VCD iteration=3; Forward loss=1.840, Prior loss=0.301, Weighted total loss=1.628 Error sino RMSE=1.096 VCD iteration=4; Forward loss=1.302, Prior loss=0.323, Weighted total loss=1.299 Error sino RMSE=0.776 VCD iteration=5; Forward loss=0.634, Prior loss=0.294, Weighted total loss=0.815 Error sino RMSE=0.378 VCD iteration=6; Forward loss=0.560, Prior loss=0.284, Weighted total loss=0.752 Error sino RMSE=0.334 VCD iteration=7; Forward loss=0.458, Prior loss=0.268, Weighted total loss=0.663 Error sino RMSE=0.273 VCD iteration=8; Forward loss=0.413, Prior loss=0.266, Weighted total loss=0.630 Error sino RMSE=0.246 VCD iteration=9; Forward loss=0.392, Prior loss=0.267, Weighted total loss=0.617 Error sino RMSE=0.233 VCD iteration=10; Forward loss=0.379, Prior loss=0.268, Weighted total loss=0.610 Error sino RMSE=0.226 VCD iteration=11; Forward loss=0.371, Prior loss=0.269, Weighted total loss=0.606 Error sino RMSE=0.221 VCD iteration=12; Forward loss=0.366, Prior loss=0.270, Weighted total loss=0.604 Error sino RMSE=0.218 VCD iteration=13; Forward loss=0.363, Prior loss=0.270, Weighted total loss=0.602 Error sino RMSE=0.216 VCD iteration=14; Forward loss=0.361, Prior loss=0.270, Weighted total loss=0.601 Error sino RMSE=0.215 Elapsed time for recon is 60.614 seconds
Forward-only updates for .
Full updates for .

## Slide 41: Results with 20 iterations, sharpness = -1
Forward-only updates for .
Full updates for .

## Slide 42: Convergence behavior, sharpness = -1
Starting VCD iterations VCD iteration=0; Forward loss=7.160, Prior loss=0.041, Weighted total loss=4.828 Error sino RMSE=4.266 VCD iteration=1; Forward loss=4.487, Prior loss=0.100, Weighted total loss=3.125 Error sino RMSE=2.673 VCD iteration=2; Forward loss=2.428, Prior loss=0.366, Weighted total loss=2.106 Error sino RMSE=1.447 VCD iteration=3; Forward loss=1.772, Prior loss=0.420, Weighted total loss=1.742 Error sino RMSE=1.056 VCD iteration=4; Forward loss=1.276, Prior loss=0.468, Weighted total loss=1.476 Error sino RMSE=0.760 VCD iteration=5; Forward loss=1.068, Prior loss=0.468, Weighted total loss=1.336 Error sino RMSE=0.636 VCD iteration=6; Forward loss=0.956, Prior loss=0.480, Weighted total loss=1.277 Error sino RMSE=0.569 VCD iteration=7; Forward loss=0.879, Prior loss=0.490, Weighted total loss=1.239 Error sino RMSE=0.524 VCD iteration=8; Forward loss=0.828, Prior loss=0.499, Weighted total loss=1.217 Error sino RMSE=0.493 VCD iteration=9; Forward loss=0.792, Prior loss=0.506, Weighted total loss=1.203 Error sino RMSE=0.472 VCD iteration=10; Forward loss=0.765, Prior loss=0.512, Weighted total loss=1.193 Error sino RMSE=0.456 VCD iteration=11; Forward loss=0.743, Prior loss=0.517, Weighted total loss=1.185 Error sino RMSE=0.443 VCD iteration=12; Forward loss=0.728, Prior loss=0.521, Weighted total loss=1.180 Error sino RMSE=0.434 VCD iteration=13; Forward loss=0.715, Prior loss=0.524, Weighted total loss=1.176 Error sino RMSE=0.426 VCD iteration=14; Forward loss=0.705, Prior loss=0.527, Weighted total loss=1.173 Error sino RMSE=0.420 VCD iteration=15; Forward loss=0.698, Prior loss=0.529, Weighted total loss=1.171 Error sino RMSE=0.416 VCD iteration=16; Forward loss=0.691, Prior loss=0.531, Weighted total loss=1.169 Error sino RMSE=0.412 VCD iteration=17; Forward loss=0.686, Prior loss=0.532, Weighted total loss=1.167 Error sino RMSE=0.409 VCD iteration=18; Forward loss=0.682, Prior loss=0.534, Weighted total loss=1.166 Error sino RMSE=0.406 VCD iteration=19; Forward loss=0.678, Prior loss=0.535, Weighted total loss=1.165 Error sino RMSE=0.404 Elapsed time for recon is 58.400 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.160, Prior loss=0.041, Weighted total loss=4.828 Error sino RMSE=4.266 VCD iteration=1; Forward loss=4.468, Prior loss=0.100, Weighted total loss=3.111 Error sino RMSE=2.662 VCD iteration=2; Forward loss=2.103, Prior loss=0.456, Weighted total loss=2.010 Error sino RMSE=1.253 VCD iteration=3; Forward loss=1.671, Prior loss=0.457, Weighted total loss=1.723 Error sino RMSE=0.996 VCD iteration=4; Forward loss=1.220, Prior loss=0.480, Weighted total loss=1.453 Error sino RMSE=0.727 VCD iteration=5; Forward loss=0.977, Prior loss=0.484, Weighted total loss=1.296 Error sino RMSE=0.582 VCD iteration=6; Forward loss=0.879, Prior loss=0.494, Weighted total loss=1.244 Error sino RMSE=0.524 VCD iteration=7; Forward loss=0.803, Prior loss=0.506, Weighted total loss=1.209 Error sino RMSE=0.478 VCD iteration=8; Forward loss=0.757, Prior loss=0.515, Weighted total loss=1.191 Error sino RMSE=0.451 VCD iteration=9; Forward loss=0.728, Prior loss=0.522, Weighted total loss=1.181 Error sino RMSE=0.434 VCD iteration=10; Forward loss=0.708, Prior loss=0.526, Weighted total loss=1.174 Error sino RMSE=0.422 VCD iteration=11; Forward loss=0.694, Prior loss=0.530, Weighted total loss=1.170 Error sino RMSE=0.413 VCD iteration=12; Forward loss=0.685, Prior loss=0.533, Weighted total loss=1.167 Error sino RMSE=0.408 VCD iteration=13; Forward loss=0.678, Prior loss=0.535, Weighted total loss=1.165 Error sino RMSE=0.404 VCD iteration=14; Forward loss=0.673, Prior loss=0.536, Weighted total loss=1.164 Error sino RMSE=0.401 VCD iteration=15; Forward loss=0.670, Prior loss=0.537, Weighted total loss=1.163 Error sino RMSE=0.399 VCD iteration=16; Forward loss=0.667, Prior loss=0.538, Weighted total loss=1.162 Error sino RMSE=0.397 VCD iteration=17; Forward loss=0.665, Prior loss=0.538, Weighted total loss=1.161 Error sino RMSE=0.396 VCD iteration=18; Forward loss=0.664, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 VCD iteration=19; Forward loss=0.663, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 Elapsed time for recon is 103.484 seconds
Forward-only updates for .
Full updates for .

## Slide 43: Experiment: using approximate prior quadratic
Goal (what): Investigate convergence with “exact” choice of and approximation to the quadratic part of the prior:
Motivation (why): Need to determine cost/benefit ratio for proper
Plan for experiment (how):
  Run the Shepp-Logan demo for 20 iterations with estimated approximate prior quadratic and then with correct choice of
  sharpness = 0, -1
  sinogram_shape = (64, 40, 128), recon_shape = (128, 128, 40)
Experiment Results (what you’ll show/what happened):
  Values of total loss function
Conclusion (what you learned):
  New approximation is even better than “exact” choice of
    With new , the losses after iteration 12 are very close to the losses after iteration 15 using “exact” form of .
  New approximation is essentially the same speed as using only the forward terms.
    40 sec vs 40 sec.

## Slide 44: Convergence behavior, sharpness = 0
Starting VCD iterations VCD iteration=0; Forward loss=7.146, Prior loss=0.014, Weighted total loss=4.783 Error sino RMSE=4.257 VCD iteration=1; Forward loss=4.506, Prior loss=0.034, Weighted total loss=3.050 Error sino RMSE=2.685 VCD iteration=2; Forward loss=1.921, Prior loss=0.299, Weighted total loss=1.680 Error sino RMSE=1.144 VCD iteration=3; Forward loss=1.829, Prior loss=0.299, Weighted total loss=1.618 Error sino RMSE=1.090 VCD iteration=4; Forward loss=1.258, Prior loss=0.315, Weighted total loss=1.259 Error sino RMSE=0.750 VCD iteration=5; Forward loss=0.619, Prior loss=0.291, Weighted total loss=0.801 Error sino RMSE=0.369 VCD iteration=6; Forward loss=0.559, Prior loss=0.283, Weighted total loss=0.749 Error sino RMSE=0.333 VCD iteration=7; Forward loss=0.457, Prior loss=0.268, Weighted total loss=0.662 Error sino RMSE=0.272 VCD iteration=8; Forward loss=0.412, Prior loss=0.266, Weighted total loss=0.630 Error sino RMSE=0.245 VCD iteration=9; Forward loss=0.391, Prior loss=0.267, Weighted total loss=0.617 Error sino RMSE=0.233 VCD iteration=10; Forward loss=0.379, Prior loss=0.268, Weighted total loss=0.610 Error sino RMSE=0.226 VCD iteration=11; Forward loss=0.371, Prior loss=0.269, Weighted total loss=0.606 Error sino RMSE=0.221 VCD iteration=12; Forward loss=0.366, Prior loss=0.270, Weighted total loss=0.604 Error sino RMSE=0.218 VCD iteration=13; Forward loss=0.363, Prior loss=0.270, Weighted total loss=0.602 Error sino RMSE=0.216 VCD iteration=14; Forward loss=0.361, Prior loss=0.270, Weighted total loss=0.601 Error sino RMSE=0.215 VCD iteration=15; Forward loss=0.360, Prior loss=0.271, Weighted total loss=0.601 Error sino RMSE=0.214 VCD iteration=16; Forward loss=0.359, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.214 VCD iteration=17; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 VCD iteration=18; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 VCD iteration=19; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 Elapsed time for recon is 76.444 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.182, Prior loss=0.014, Weighted total loss=4.806 Error sino RMSE=4.279 VCD iteration=1; Forward loss=4.381, Prior loss=0.034, Weighted total loss=2.966 Error sino RMSE=2.610 VCD iteration=2; Forward loss=2.038, Prior loss=0.290, Weighted total loss=1.745 Error sino RMSE=1.214 VCD iteration=3; Forward loss=1.943, Prior loss=0.288, Weighted total loss=1.679 Error sino RMSE=1.158 VCD iteration=4; Forward loss=1.306, Prior loss=0.342, Weighted total loss=1.327 Error sino RMSE=0.778 VCD iteration=5; Forward loss=0.561, Prior loss=0.308, Weighted total loss=0.785 Error sino RMSE=0.334 VCD iteration=6; Forward loss=0.510, Prior loss=0.290, Weighted total loss=0.726 Error sino RMSE=0.304 VCD iteration=7; Forward loss=0.429, Prior loss=0.270, Weighted total loss=0.646 Error sino RMSE=0.256 VCD iteration=8; Forward loss=0.393, Prior loss=0.268, Weighted total loss=0.619 Error sino RMSE=0.234 VCD iteration=9; Forward loss=0.378, Prior loss=0.269, Weighted total loss=0.610 Error sino RMSE=0.225 VCD iteration=10; Forward loss=0.370, Prior loss=0.269, Weighted total loss=0.606 Error sino RMSE=0.220 VCD iteration=11; Forward loss=0.365, Prior loss=0.270, Weighted total loss=0.603 Error sino RMSE=0.217 VCD iteration=12; Forward loss=0.362, Prior loss=0.270, Weighted total loss=0.602 Error sino RMSE=0.216 VCD iteration=13; Forward loss=0.360, Prior loss=0.271, Weighted total loss=0.601 Error sino RMSE=0.215 VCD iteration=14; Forward loss=0.359, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.214 VCD iteration=15; Forward loss=0.359, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.214 VCD iteration=16; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 VCD iteration=17; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 VCD iteration=18; Forward loss=0.358, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 VCD iteration=19; Forward loss=0.357, Prior loss=0.271, Weighted total loss=0.600 Error sino RMSE=0.213 Elapsed time for recon is 40.548 seconds
Approximate prior quadratic updates for .
Full updates for .

## Slide 45: Convergence behavior, sharpness = 1
Starting VCD iterations VCD iteration=0; Forward loss=7.128, Prior loss=0.005, Weighted total loss=4.759 Error sino RMSE=4.247 VCD iteration=1; Forward loss=4.594, Prior loss=0.011, Weighted total loss=3.077 Error sino RMSE=2.737 VCD iteration=2; Forward loss=2.172, Prior loss=0.142, Weighted total loss=1.637 Error sino RMSE=1.294 VCD iteration=3; Forward loss=2.067, Prior loss=0.143, Weighted total loss=1.568 Error sino RMSE=1.231 VCD iteration=4; Forward loss=1.485, Prior loss=0.170, Weighted total loss=1.217 Error sino RMSE=0.885 VCD iteration=5; Forward loss=0.460, Prior loss=0.190, Weighted total loss=0.560 Error sino RMSE=0.274 VCD iteration=6; Forward loss=0.403, Prior loss=0.180, Weighted total loss=0.508 Error sino RMSE=0.240 VCD iteration=7; Forward loss=0.289, Prior loss=0.150, Weighted total loss=0.392 Error sino RMSE=0.172 VCD iteration=8; Forward loss=0.238, Prior loss=0.133, Weighted total loss=0.336 Error sino RMSE=0.142 VCD iteration=9; Forward loss=0.217, Prior loss=0.127, Weighted total loss=0.314 Error sino RMSE=0.129 VCD iteration=10; Forward loss=0.204, Prior loss=0.125, Weighted total loss=0.303 Error sino RMSE=0.122 VCD iteration=11; Forward loss=0.196, Prior loss=0.124, Weighted total loss=0.297 Error sino RMSE=0.117 VCD iteration=12; Forward loss=0.192, Prior loss=0.124, Weighted total loss=0.294 Error sino RMSE=0.114 VCD iteration=13; Forward loss=0.189, Prior loss=0.124, Weighted total loss=0.292 Error sino RMSE=0.113 VCD iteration=14; Forward loss=0.188, Prior loss=0.124, Weighted total loss=0.291 Error sino RMSE=0.112 VCD iteration=15; Forward loss=0.187, Prior loss=0.124, Weighted total loss=0.290 Error sino RMSE=0.111 VCD iteration=16; Forward loss=0.186, Prior loss=0.124, Weighted total loss=0.290 Error sino RMSE=0.111 VCD iteration=17; Forward loss=0.185, Prior loss=0.125, Weighted total loss=0.290 Error sino RMSE=0.111 VCD iteration=18; Forward loss=0.185, Prior loss=0.125, Weighted total loss=0.290 Error sino RMSE=0.110 VCD iteration=19; Forward loss=0.185, Prior loss=0.125, Weighted total loss=0.289 Error sino RMSE=0.110 Elapsed time for recon is 40.891 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.126, Prior loss=0.005, Weighted total loss=4.757 Error sino RMSE=4.245 VCD iteration=1; Forward loss=4.692, Prior loss=0.011, Weighted total loss=3.142 Error sino RMSE=2.796 VCD iteration=2; Forward loss=2.156, Prior loss=0.147, Weighted total loss=1.634 Error sino RMSE=1.285 VCD iteration=3; Forward loss=2.053, Prior loss=0.148, Weighted total loss=1.566 Error sino RMSE=1.223 VCD iteration=4; Forward loss=1.443, Prior loss=0.182, Weighted total loss=1.204 Error sino RMSE=0.859 VCD iteration=5; Forward loss=0.467, Prior loss=0.186, Weighted total loss=0.559 Error sino RMSE=0.278 VCD iteration=6; Forward loss=0.404, Prior loss=0.180, Weighted total loss=0.509 Error sino RMSE=0.241 VCD iteration=7; Forward loss=0.289, Prior loss=0.153, Weighted total loss=0.396 Error sino RMSE=0.172 VCD iteration=8; Forward loss=0.240, Prior loss=0.136, Weighted total loss=0.342 Error sino RMSE=0.143 VCD iteration=9; Forward loss=0.221, Prior loss=0.129, Weighted total loss=0.320 Error sino RMSE=0.132 VCD iteration=10; Forward loss=0.208, Prior loss=0.126, Weighted total loss=0.307 Error sino RMSE=0.124 VCD iteration=11; Forward loss=0.200, Prior loss=0.125, Weighted total loss=0.300 Error sino RMSE=0.119 VCD iteration=12; Forward loss=0.195, Prior loss=0.124, Weighted total loss=0.296 Error sino RMSE=0.116 VCD iteration=13; Forward loss=0.192, Prior loss=0.124, Weighted total loss=0.294 Error sino RMSE=0.114 VCD iteration=14; Forward loss=0.190, Prior loss=0.124, Weighted total loss=0.292 Error sino RMSE=0.113 VCD iteration=15; Forward loss=0.188, Prior loss=0.124, Weighted total loss=0.291 Error sino RMSE=0.112 VCD iteration=16; Forward loss=0.187, Prior loss=0.124, Weighted total loss=0.291 Error sino RMSE=0.111 VCD iteration=17; Forward loss=0.186, Prior loss=0.124, Weighted total loss=0.290 Error sino RMSE=0.111 VCD iteration=18; Forward loss=0.186, Prior loss=0.124, Weighted total loss=0.290 Error sino RMSE=0.111 VCD iteration=19; Forward loss=0.185, Prior loss=0.125, Weighted total loss=0.290 Error sino RMSE=0.110 Elapsed time for recon is 76.692 seconds
Approximate prior quadratic updates for .
Full updates for .

## Slide 46: Convergence behavior, sharpness = 2
Starting VCD iterations VCD iteration=0; Forward loss=7.188, Prior loss=0.002, Weighted total loss=4.794 Error sino RMSE=4.282 VCD iteration=1; Forward loss=5.143, Prior loss=0.003, Weighted total loss=3.433 Error sino RMSE=3.064 VCD iteration=2; Forward loss=2.309, Prior loss=0.067, Weighted total loss=1.629 Error sino RMSE=1.376 VCD iteration=3; Forward loss=2.194, Prior loss=0.067, Weighted total loss=1.552 Error sino RMSE=1.307 VCD iteration=4; Forward loss=1.596, Prior loss=0.074, Weighted total loss=1.163 Error sino RMSE=0.951 VCD iteration=5; Forward loss=0.491, Prior loss=0.105, Weighted total loss=0.467 Error sino RMSE=0.293 VCD iteration=6; Forward loss=0.420, Prior loss=0.103, Weighted total loss=0.417 Error sino RMSE=0.250 VCD iteration=7; Forward loss=0.258, Prior loss=0.093, Weighted total loss=0.297 Error sino RMSE=0.154 VCD iteration=8; Forward loss=0.174, Prior loss=0.082, Weighted total loss=0.225 Error sino RMSE=0.104 VCD iteration=9; Forward loss=0.145, Prior loss=0.075, Weighted total loss=0.197 Error sino RMSE=0.086 VCD iteration=10; Forward loss=0.131, Prior loss=0.068, Weighted total loss=0.178 Error sino RMSE=0.078 VCD iteration=11; Forward loss=0.121, Prior loss=0.063, Weighted total loss=0.164 Error sino RMSE=0.072 VCD iteration=12; Forward loss=0.114, Prior loss=0.059, Weighted total loss=0.155 Error sino RMSE=0.068 VCD iteration=13; Forward loss=0.109, Prior loss=0.057, Weighted total loss=0.148 Error sino RMSE=0.065 VCD iteration=14; Forward loss=0.105, Prior loss=0.055, Weighted total loss=0.144 Error sino RMSE=0.063 VCD iteration=15; Forward loss=0.102, Prior loss=0.055, Weighted total loss=0.141 Error sino RMSE=0.061 VCD iteration=16; Forward loss=0.100, Prior loss=0.054, Weighted total loss=0.139 Error sino RMSE=0.060 VCD iteration=17; Forward loss=0.098, Prior loss=0.054, Weighted total loss=0.137 Error sino RMSE=0.059 VCD iteration=18; Forward loss=0.097, Prior loss=0.053, Weighted total loss=0.136 Error sino RMSE=0.058 VCD iteration=19; Forward loss=0.096, Prior loss=0.053, Weighted total loss=0.135 Error sino RMSE=0.057 Elapsed time for recon is 40.571 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.188, Prior loss=0.002, Weighted total loss=4.794 Error sino RMSE=4.282 VCD iteration=1; Forward loss=5.158, Prior loss=0.003, Weighted total loss=3.442 Error sino RMSE=3.073 VCD iteration=2; Forward loss=2.343, Prior loss=0.065, Weighted total loss=1.649 Error sino RMSE=1.396 VCD iteration=3; Forward loss=2.230, Prior loss=0.065, Weighted total loss=1.574 Error sino RMSE=1.328 VCD iteration=4; Forward loss=1.617, Prior loss=0.077, Weighted total loss=1.181 Error sino RMSE=0.963 VCD iteration=5; Forward loss=0.487, Prior loss=0.103, Weighted total loss=0.462 Error sino RMSE=0.290 VCD iteration=6; Forward loss=0.417, Prior loss=0.101, Weighted total loss=0.413 Error sino RMSE=0.248 VCD iteration=7; Forward loss=0.260, Prior loss=0.092, Weighted total loss=0.296 Error sino RMSE=0.155 VCD iteration=8; Forward loss=0.174, Prior loss=0.081, Weighted total loss=0.225 Error sino RMSE=0.104 VCD iteration=9; Forward loss=0.146, Prior loss=0.075, Weighted total loss=0.197 Error sino RMSE=0.087 VCD iteration=10; Forward loss=0.131, Prior loss=0.068, Weighted total loss=0.178 Error sino RMSE=0.078 VCD iteration=11; Forward loss=0.120, Prior loss=0.063, Weighted total loss=0.164 Error sino RMSE=0.072 VCD iteration=12; Forward loss=0.114, Prior loss=0.060, Weighted total loss=0.155 Error sino RMSE=0.068 VCD iteration=13; Forward loss=0.109, Prior loss=0.057, Weighted total loss=0.149 Error sino RMSE=0.065 VCD iteration=14; Forward loss=0.106, Prior loss=0.056, Weighted total loss=0.145 Error sino RMSE=0.063 VCD iteration=15; Forward loss=0.103, Prior loss=0.055, Weighted total loss=0.142 Error sino RMSE=0.061 VCD iteration=16; Forward loss=0.101, Prior loss=0.054, Weighted total loss=0.139 Error sino RMSE=0.060 VCD iteration=17; Forward loss=0.099, Prior loss=0.054, Weighted total loss=0.138 Error sino RMSE=0.059 VCD iteration=18; Forward loss=0.098, Prior loss=0.054, Weighted total loss=0.136 Error sino RMSE=0.058 VCD iteration=19; Forward loss=0.096, Prior loss=0.053, Weighted total loss=0.135 Error sino RMSE=0.057 Elapsed time for recon is 76.786 seconds
Full updates for .
Approximate prior quadratic updates for .

## Slide 47: Convergence behavior, sharpness = -1
Starting VCD iterations VCD iteration=0; Forward loss=7.628, Prior loss=0.034, Weighted total loss=5.131 Error sino RMSE=4.544 VCD iteration=1; Forward loss=5.669, Prior loss=0.062, Weighted total loss=3.862 Error sino RMSE=3.377 VCD iteration=2; Forward loss=2.335, Prior loss=0.483, Weighted total loss=2.200 Error sino RMSE=1.391 VCD iteration=3; Forward loss=2.005, Prior loss=0.470, Weighted total loss=1.964 Error sino RMSE=1.195 VCD iteration=4; Forward loss=1.306, Prior loss=0.531, Weighted total loss=1.579 Error sino RMSE=0.778 VCD iteration=5; Forward loss=0.956, Prior loss=0.513, Weighted total loss=1.322 Error sino RMSE=0.570 VCD iteration=6; Forward loss=0.857, Prior loss=0.511, Weighted total loss=1.252 Error sino RMSE=0.510 VCD iteration=7; Forward loss=0.780, Prior loss=0.515, Weighted total loss=1.207 Error sino RMSE=0.464 VCD iteration=8; Forward loss=0.739, Prior loss=0.521, Weighted total loss=1.187 Error sino RMSE=0.440 VCD iteration=9; Forward loss=0.715, Prior loss=0.526, Weighted total loss=1.178 Error sino RMSE=0.426 VCD iteration=10; Forward loss=0.700, Prior loss=0.529, Weighted total loss=1.172 Error sino RMSE=0.417 VCD iteration=11; Forward loss=0.689, Prior loss=0.532, Weighted total loss=1.168 Error sino RMSE=0.410 VCD iteration=12; Forward loss=0.681, Prior loss=0.534, Weighted total loss=1.166 Error sino RMSE=0.406 VCD iteration=13; Forward loss=0.676, Prior loss=0.535, Weighted total loss=1.165 Error sino RMSE=0.403 VCD iteration=14; Forward loss=0.672, Prior loss=0.537, Weighted total loss=1.163 Error sino RMSE=0.400 VCD iteration=15; Forward loss=0.669, Prior loss=0.537, Weighted total loss=1.163 Error sino RMSE=0.399 VCD iteration=16; Forward loss=0.667, Prior loss=0.538, Weighted total loss=1.162 Error sino RMSE=0.397 VCD iteration=17; Forward loss=0.665, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.396 VCD iteration=18; Forward loss=0.664, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 VCD iteration=19; Forward loss=0.663, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 Elapsed time for recon is 41.104 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.160, Prior loss=0.041, Weighted total loss=4.828 Error sino RMSE=4.266 VCD iteration=1; Forward loss=4.468, Prior loss=0.100, Weighted total loss=3.111 Error sino RMSE=2.662 VCD iteration=2; Forward loss=2.104, Prior loss=0.454, Weighted total loss=2.009 Error sino RMSE=1.254 VCD iteration=3; Forward loss=1.723, Prior loss=0.449, Weighted total loss=1.748 Error sino RMSE=1.026 VCD iteration=4; Forward loss=1.242, Prior loss=0.477, Weighted total loss=1.464 Error sino RMSE=0.740 VCD iteration=5; Forward loss=0.982, Prior loss=0.483, Weighted total loss=1.299 Error sino RMSE=0.585 VCD iteration=6; Forward loss=0.876, Prior loss=0.495, Weighted total loss=1.244 Error sino RMSE=0.522 VCD iteration=7; Forward loss=0.800, Prior loss=0.506, Weighted total loss=1.209 Error sino RMSE=0.477 VCD iteration=8; Forward loss=0.755, Prior loss=0.515, Weighted total loss=1.191 Error sino RMSE=0.450 VCD iteration=9; Forward loss=0.726, Prior loss=0.522, Weighted total loss=1.180 Error sino RMSE=0.433 VCD iteration=10; Forward loss=0.707, Prior loss=0.527, Weighted total loss=1.174 Error sino RMSE=0.421 VCD iteration=11; Forward loss=0.693, Prior loss=0.531, Weighted total loss=1.169 Error sino RMSE=0.413 VCD iteration=12; Forward loss=0.684, Prior loss=0.533, Weighted total loss=1.167 Error sino RMSE=0.408 VCD iteration=13; Forward loss=0.678, Prior loss=0.535, Weighted total loss=1.165 Error sino RMSE=0.404 VCD iteration=14; Forward loss=0.673, Prior loss=0.536, Weighted total loss=1.164 Error sino RMSE=0.401 VCD iteration=15; Forward loss=0.670, Prior loss=0.537, Weighted total loss=1.163 Error sino RMSE=0.399 VCD iteration=16; Forward loss=0.667, Prior loss=0.538, Weighted total loss=1.162 Error sino RMSE=0.397 VCD iteration=17; Forward loss=0.665, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.396 VCD iteration=18; Forward loss=0.664, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 VCD iteration=19; Forward loss=0.663, Prior loss=0.539, Weighted total loss=1.161 Error sino RMSE=0.395 Elapsed time for recon is 76.453 seconds
Full updates for .
Approximate prior quadratic updates for .

## Slide 48: Convergence behavior, sharpness = -2
Starting VCD iterations VCD iteration=0; Forward loss=10.616, Prior loss=0.062, Weighted total loss=7.159 Error sino RMSE=6.325 VCD iteration=1; Forward loss=6.796, Prior loss=0.127, Weighted total loss=4.701 Error sino RMSE=4.049 VCD iteration=2; Forward loss=3.986, Prior loss=0.583, Weighted total loss=3.434 Error sino RMSE=2.375 VCD iteration=3; Forward loss=2.990, Prior loss=0.621, Weighted total loss=2.821 Error sino RMSE=1.781 VCD iteration=4; Forward loss=2.222, Prior loss=0.711, Weighted total loss=2.430 Error sino RMSE=1.324 VCD iteration=5; Forward loss=1.829, Prior loss=0.761, Weighted total loss=2.234 Error sino RMSE=1.090 VCD iteration=6; Forward loss=1.627, Prior loss=0.799, Weighted total loss=2.150 Error sino RMSE=0.969 VCD iteration=7; Forward loss=1.503, Prior loss=0.830, Weighted total loss=2.109 Error sino RMSE=0.896 VCD iteration=8; Forward loss=1.423, Prior loss=0.854, Weighted total loss=2.087 Error sino RMSE=0.848 VCD iteration=9; Forward loss=1.367, Prior loss=0.872, Weighted total loss=2.074 Error sino RMSE=0.815 VCD iteration=10; Forward loss=1.326, Prior loss=0.887, Weighted total loss=2.067 Error sino RMSE=0.790 VCD iteration=11; Forward loss=1.293, Prior loss=0.900, Weighted total loss=2.061 Error sino RMSE=0.770 VCD iteration=12; Forward loss=1.269, Prior loss=0.909, Weighted total loss=2.058 Error sino RMSE=0.756 VCD iteration=13; Forward loss=1.248, Prior loss=0.918, Weighted total loss=2.056 Error sino RMSE=0.744 VCD iteration=14; Forward loss=1.232, Prior loss=0.925, Weighted total loss=2.054 Error sino RMSE=0.734 VCD iteration=15; Forward loss=1.218, Prior loss=0.931, Weighted total loss=2.053 Error sino RMSE=0.726 VCD iteration=16; Forward loss=1.207, Prior loss=0.936, Weighted total loss=2.053 Error sino RMSE=0.719 VCD iteration=17; Forward loss=1.198, Prior loss=0.940, Weighted total loss=2.052 Error sino RMSE=0.714 VCD iteration=18; Forward loss=1.190, Prior loss=0.944, Weighted total loss=2.052 Error sino RMSE=0.709 VCD iteration=19; Forward loss=1.184, Prior loss=0.947, Weighted total loss=2.052 Error sino RMSE=0.705 Elapsed time for recon is 40.859 seconds
Starting VCD iterations VCD iteration=0; Forward loss=7.165, Prior loss=0.111, Weighted total loss=4.925 Error sino RMSE=4.269 VCD iteration=1; Forward loss=4.410, Prior loss=0.279, Weighted total loss=3.312 Error sino RMSE=2.628 VCD iteration=2; Forward loss=3.063, Prior loss=0.575, Weighted total loss=2.808 Error sino RMSE=1.825 VCD iteration=3; Forward loss=2.453, Prior loss=0.645, Weighted total loss=2.495 Error sino RMSE=1.461 VCD iteration=4; Forward loss=2.008, Prior loss=0.717, Weighted total loss=2.294 Error sino RMSE=1.196 VCD iteration=5; Forward loss=1.766, Prior loss=0.754, Weighted total loss=2.182 Error sino RMSE=1.052 VCD iteration=6; Forward loss=1.606, Prior loss=0.793, Weighted total loss=2.127 Error sino RMSE=0.957 VCD iteration=7; Forward loss=1.502, Prior loss=0.823, Weighted total loss=2.098 Error sino RMSE=0.895 VCD iteration=8; Forward loss=1.427, Prior loss=0.847, Weighted total loss=2.081 Error sino RMSE=0.850 VCD iteration=9; Forward loss=1.372, Prior loss=0.867, Weighted total loss=2.070 Error sino RMSE=0.817 VCD iteration=10; Forward loss=1.329, Prior loss=0.883, Weighted total loss=2.064 Error sino RMSE=0.792 VCD iteration=11; Forward loss=1.293, Prior loss=0.898, Weighted total loss=2.059 Error sino RMSE=0.771 VCD iteration=12; Forward loss=1.268, Prior loss=0.908, Weighted total loss=2.056 Error sino RMSE=0.755 VCD iteration=13; Forward loss=1.246, Prior loss=0.918, Weighted total loss=2.054 Error sino RMSE=0.742 VCD iteration=14; Forward loss=1.229, Prior loss=0.925, Weighted total loss=2.053 Error sino RMSE=0.732 VCD iteration=15; Forward loss=1.215, Prior loss=0.931, Weighted total loss=2.052 Error sino RMSE=0.724 VCD iteration=16; Forward loss=1.204, Prior loss=0.937, Weighted total loss=2.052 Error sino RMSE=0.718 VCD iteration=17; Forward loss=1.195, Prior loss=0.941, Weighted total loss=2.051 Error sino RMSE=0.712 VCD iteration=18; Forward loss=1.188, Prior loss=0.945, Weighted total loss=2.051 Error sino RMSE=0.708 VCD iteration=19; Forward loss=1.181, Prior loss=0.948, Weighted total loss=2.051 Error sino RMSE=0.704 Elapsed time for recon is 76.279 seconds
Full updates for .
Approximate prior quadratic updates for .

## Slide 49: Refactor projectors for cpu/gpu transfer model
Goal: The jit-compiled projectors should
  Take in a batch specified by a set of pixels and a set of views.
  Take input on the worker and return results to the worker.
  This is the atomic-level component. Any transfer GPU-CPU will take place outside this and not be jit compiled.
  “batch” should mean a group of size less or equal to the specified batch sizes with all processing on the worker. We use batches to manage GPU memory and efficiency.
  “subset” should mean any subset of views or pixels, which may then be batched in views and/or pixels. We use pixel subsets for multi-granular VCD and multi-GPU back projection and use view subsets for multi-GPU forward projection.
Forward project:
  forward_project_pixel_batch_to_view_batch(voxel_values_batch, pixel_indices_batch, view_indices_batch)
    Vmap over views – no need to concatenate over batches since that will happen outside jit
    Like forward_project_view_batch with extra arguments for pixels/voxels
  forward_project_pixel_subset_to_view_batch(voxel_values, pixel_indices, view_indices_batch)
    sum_function_in_batches(forward_project_view_batch_pixel_batch, pixel_batch_size)
  forward_project_pixel_subset_to_view_subset (voxel_values, pixel_indices, view_indices)
    concatenate_function_in_batches(forward_project_view_batch_pixel_subset, view_batch_size)

## Slide 50: Transition to cpu/gpu transfer model
Goal: For large recons, keep the data (sinogram, recon, hessian, etc) on the cpu and transfer batches to the gpu and back as needed.
  Ideally, for small recons, the behavior will be the same as now – everything on the gpu. This leads to 3 scenarios for main/worker: cpu/cpu, cpu/gpu, gpu/gpu. Maybe just cpu/cpu and cpu/gpu.
Components to change:
  Sinogram load: The sinogram will need to go into main device memory – need to determine how to do this since the user may load the sinogram separately, and we won’t even know the main worker until we initialize the TomographyModel and know the sinogram and recon shapes. If the user creates weights, these should go on main. We should probably load/create everything on cpu, then transfer as needed.
  TomographyModel initialization: determine main, worker, and batch sizes
    Status: There is some trial code to determine these items, but the batch size calculation is not robust and probably doesn’t work in all main/worker combinations.
  Projectors: Forward and back project pixel subset will need to loop over batches and manage communication between gpu and cpu. These will no longer be jit-compiled since jit treats data transfer as a side effect and so doesn’t allow gpu/cpu transfer.
    Status: The code for forward projection is in the gpu_cpu_sandbox. It needs some tests and some additional documentation. The code for back projection should be similar.
  Vcd_recon: Create new items (weights, recon, error_sinogram, prox_input, hessian) on main. Convert vcd_subset_iterator and vcd_partition_iterator to non-compiled loops. Check for memory use on auxiliary functions like get_forward_model_loss, total_loss etc – anything that involves multiplying recon/sinogram and then computing with the result will create intermediate memory. We may also need to modify the qggmrf code.
    Status: Not started.

## Slide 51: Conversion plan: cpu/gpu transfer model
Components to change, in order:
  TomographyModel initialization: determine main, worker, and batch sizes
    Write a function to determine these items and call it from TomographyModel.__init__(). Pixel_batch_size and view_batch_size will convert from user-defined parameters to internal instance variables.
    Qggmrf may need different batch sizes.
  Vcd_recon:
    Create any initialization arrays (weights, recon, error_sinogram, prox_input, hessian) on main.
    Convert vcd_subset_iterator and vcd_partition_iterator to use non-compiled loops (can’t use jax map or scan).
    Check for memory use on auxiliary functions like get_forward_model_loss, total_loss etc – anything that involves multiplying recon/sinogram and then computing with the result will create intermediate memory. This is really only a concern when all the data is kept on the gpu.
  Sinogram load: The sinogram will need to go into main device memory – need to determine how to do this since the user may load the sinogram separately, and we won’t even know the main worker until we initialize the TomographyModel and know the sinogram and recon shapes. If the user creates weights, these should go on main. We should probably load/create everything on cpu, then transfer as needed.
    Rewrite load file and phantom generation utilities to use the main device. Include a pad function for the recon.
  Projectors: Forward and back project pixel subset will need to loop over batches and manage communication between gpu and cpu. These will no longer be jit-compiled since jit treats data transfer as a side effect and so doesn’t allow gpu/cpu transfer.
    Test and document forward projector. Modify back projector to use the same approach to cpu/gpu transfer.
    Modify cone beam back projector to use the memory efficient approach of the forward projector.
  QGGMRF: At the moment, this requires the full recon on the worker. Maybe just keep it there always.
    Refactor so that only neighbors of a batch need to be transferred to the worker.

## Slide 52
Link to overview of blue noise: https://momentsingraphics.de/BlueNoise.html
Download blue noise samples (in the public domain through CC0-licensing): https://momentsingraphics.de/Media/BlueNoise/FreeBlueNoiseTextures.zip

## Slide 53: Helical Geometry – top view
Voxel:
  : index
  : physical size
Forward map entry:
Top view parameters:
  : ray angle in the plane
  : smallest angle between source-voxel line and voxel edge
  NOTE:
  : length of path through center of voxel
  : magnification = (distance source to detector) / (distance source to voxel in this plane)
  : length of projection of flattened voxel on detector,
    We could use radians for this, but for small voxels it probably doesn’t matter much.
  : distance between detector element center and projection of voxel center
  : length of intersection between detector element and projection of flattened voxel
  : the fraction of the detector element illuminated by this voxel
(in mm or ALUs)
Separable Models for cone-beam MBIR Reconstruction, Balke, et al, 2018.
A three-dimensional statistical approach to improved image quality for multislice helical CT, Thibault, et al, 2007.
Detector:
  : index
  : physical size
The only real difference is that the curved detector is perpendicular to the source-voxel line, so the conebeam is 0 in the helical case. Also need to consider the z offset due to nonzero helical pitch.

## Slide 54: Helical Geometry – side view
Voxel:
  : index
  : physical size
Forward map entry:
Top view parameters:
  : ray angle in the
  : smallest angle between source-voxel line and voxel edge
  : length of projection of flattened voxel on detector
  : distance between detector element center and projection of voxel center
  : length of intersection between detector element and projection of flattened voxel
Side view parameters:
  : angle between source-iso line and source-voxel line in the side view – indep of
  : smallest angle between source-voxel line and voxel edge, assumed=
    Can use
  : scaling factor for length of path through center of voxel
  : length of projection of flattened voxel on detector,
  : length of intersection between detector element and projection of flattened voxel
  : the fraction of the detector element illuminated by this voxel
Detector:
  : index
  : physical size