## Slide 1: Geometric parameter conversion between MBIRCONE and MBIRJAX
Diyu Yang

## Slide 2: Geometry Parameter Overview
MBIRJAX parameters
    sinogram_shape ()
    delta_det_channel
    delta_det_row
    recon_shape ()
    magnification
    delta_pixel_recon
    source_detector_dist
    image_slice_offset=0.0
    det_rotation=0.0
    angles
    det_channel_offset (mbirjax)
    det_row_offset (mbirjax)
MBIRCONE parameters
    (num_views, num_det_rows, num_det_channels) ()
    delta_det_channel
    delta_det_row
    (num_img_rows, num_img_cols, num_img_slices) ()
    magnification
    delta_pixel_image
    dist_source_detector
    image_slice_offset=0.0
    rotation_axis_tilt=0.0
    angles
    det_channel_offset (mbircone)
    det_row_offset (mbircone)
    rotation_offset (mbircone)
Goal: convert the MBIRCONE parameters (, , ) to MBIRJAX parameters (, ).
    Detector channel offset conversion:
    Detector row offset stays the same:
All other parameter values are consistent between MBIRJAX and MBIRCONE.

## Slide 3: Cone Beam Geometry, MBIRJAX
Assumptions:
    iso is defined as point on rotation axis that is perpendicular to source detector line.
    Detector is assumed to be perpendicular to source to detector line and axis aligned with rotation axis
    Shape of sinogram is:
    num_views, num_detector_rows, num_detector_channels = sinogram.shape
    Magnification is a user specified parameter defined by:
    magnification = (source to detector distance) / (source to iso distance)
Spaces:
    – index space (integers) for voxels in reconstruction.
    – physical space centered around iso and invariant to view parameters.
    – physical space with origin at detector iso and aligned with .
    – index space (floats) for pixel centers in detector.
Comments:
Object is assumed to rotate clockwise viewed from the top.
Detector is assumed axis-aligned with rotation axis.
Index spaces are aligned with centers of voxels or detectors.
iso
rotation axis
source
source to detector distance
source to iso distance
source to detector line
col (j)
row (i)
slice (k)
x
y
z
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel
Assume detector is aligned with rotation axis.

## Slide 4: Conversion from MBIRJAX to MBIRCONE
Key discrepancies in MBIRCONE and MBIRJAX geometry:
    MBIRJAX: source-detector line passes through iso.
    MBIRCONE: source-detector line does not pass through iso. Distance between iso and source-detector line is defined by the rotation offset ().
Convert detector offsets from MBIRCONE to MBIRJAX:
    Detector channel offset conversion:
    Detector row offset stays the same:
iso
rotation axis
source
source to detector distance
source to detector line (JAX)
detector iso
rows indexed by
channels index by
detector center
sino[0,0,0]: center
of corner pixel
source to detector line (Cone)

## Slide 5
Next steps
Write a function (or script) that converts MBIRCONE params to MBIRJAX params.
Discuss how to parameters should be saved (example: save as an hdf5 file).
Test MBIRJAX with actual cone-beam scans.
*Completed tasks in Green